## Hoja1
if ($('#dparameters').html().trim()==1) { var dataparameter=[['ZT','left','Zone Temperature','smoothedLine'],['ZRVS','right','Zone Reheat Valve Signal (%)','column'],['ZOM','right','Zone Occupancy Mode (Occupied/Unoccupied)','column']]; } | 1 | 24 | 29 | ZT | 1) { var dataparameter=[['ZT','left','Zone Temperature','smoothedLine'],['ZRVS','right','Zone Reheat Valve Signal (%)','column'],['ZOM','right','Zone Occupancy Mode (Occupied/Unoccupied)','column']]; } | 44 | 6 | ,'left','Zone Temperature','smoothedLine'],['ZRVS','right','Zone Reheat Valve Signal (%)','column'],['ZOM','right','Zone Occupancy Mode (Occupied/Unoccupied)','column']]; } | ZRVS | 57 | 'ZRVS','right','Zone Reheat Valve Signal (%)','column'],['ZOM','right','Zone Occupancy Mode (Occupied/Unoccupied)','column']]; } | 5 | ZOM | #VALUE! | 'ZOM','right','Zone Occupancy Mode (Occupied/Unoccupied)','column']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==2) { var dataparameter=[['ZT','left','Zone Temperature','smoothedLine'],['ZRVS','right','Zone Reheat Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 2 | 24 | 29 | ZT | 2) { var dataparameter=[['ZT','left','Zone Temperature','smoothedLine'],['ZRVS','right','Zone Reheat Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 44 | 6 | ,'left','Zone Temperature','smoothedLine'],['ZRVS','right','Zone Reheat Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | ZRVS | 57 | 'ZRVS','right','Zone Reheat Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 5 | OAT | #VALUE! | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==3) { var dataparameter=[['MAT','left','Mixed/Air Temp','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','right','Outdoor/Air Fraction temp','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | 3 | 24 | 30 | MAT | 3) { var dataparameter=[['MAT','left','Mixed/Air Temp','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','right','Outdoor/Air Fraction temp','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | 42 | 7 | ,'left','Mixed/Air Temp','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','right','Outdoor/Air Fraction temp','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | OADPS | 68 | 'OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','right','Outdoor/Air Fraction temp','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | 5 | OAF | 53 | 'OAF','right','Outdoor/Air Fraction temp','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | 5 | OAT | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | RAT
if ($('#dparameters').html().trim()==4) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','right','Outdoor/Air Fraction temp','column']]; } | 4 | 24 | 30 | OAT | 4) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','right','Outdoor/Air Fraction temp','column']]; } | 51 | 7 | ,'left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','right','Outdoor/Air Fraction temp','column']]; } | OADPS | 68 | 'OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','right','Outdoor/Air Fraction temp','column']]; } | 5 | OAF | #VALUE! | 'OAF','right','Outdoor/Air Fraction temp','column']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==5) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | 5 | 24 | 30 | OAT | 5) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | 51 | 5 | ,'left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | RAT | 48 | 'RAT','left','Return/Air Temp','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | 7 | OADPS | #VALUE! | 'OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==6) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | 6 | 24 | 30 | OAT | 6) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | 51 | 7 | ,'left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | OADPS | #VALUE! | 'OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==7) { var dataparameter=[['CCV','right','Cooling/Coil Valve Signal (%)','column'],['DATSP','left','Discharge/Air Temp Set Point','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 7 | 24 | 30 | CCV | 7) { var dataparameter=[['CCV','right','Cooling/Coil Valve Signal (%)','column'],['DATSP','left','Discharge/Air Temp Set Point','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 52 | 7 | ,'right','Cooling/Coil Valve Signal (%)','column'],['DATSP','left','Discharge/Air Temp Set Point','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | DATSP | 63 | 'DATSP','left','Discharge/Air Temp Set Point','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 7 | OADPS | 68 | 'OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 5 | OAT | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; }
if ($('#dparameters').html().trim()==8) { var dataparameter=[['CCV','right','Cooling/Coil Valve Signal (%)','column'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 8 | 24 | 30 | CCV | 8) { var dataparameter=[['CCV','right','Cooling/Coil Valve Signal (%)','column'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 52 | 7 | ,'right','Cooling/Coil Valve Signal (%)','column'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | OADPS | 68 | 'OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 5 | OAT | #VALUE! | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==9) { var dataparameter=[['CCV','right','Cooling/Coil Valve Signal (%)','column'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | 9 | 24 | 30 | CCV | 9) { var dataparameter=[['CCV','right','Cooling/Coil Valve Signal (%)','column'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | 52 | 7 | ,'right','Cooling/Coil Valve Signal (%)','column'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | OADPS | #VALUE! | 'OADPS','right','Outdoor/Air Damper Position Signal (%)','column']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==10) { var dataparameter=[['DAT','left','Discharge/Air Temp','smoothedLine'],['MAT','left','Mixed/Air Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | 10 | 25 | 31 | DAT | 10) { var dataparameter=[['DAT','left','Discharge/Air Temp','smoothedLine'],['MAT','left','Mixed/Air Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | 46 | 5 | ,'left','Discharge/Air Temp','smoothedLine'],['MAT','left','Mixed/Air Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | MAT | 47 | 'MAT','left','Mixed/Air Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | 5 | OAT | 56 | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['RAT','left','Return/Air Temp','smoothedLine']]; } | 5 | RAT | 'RAT','left','Return/Air Temp','smoothedLine']]; }
if ($('#dparameters').html().trim()==11) { var dataparameter=[['CCV','right','Cooling/Coil Valve Signal (%)','column'],['HCVS','right','Heating/Coil Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 11 | 25 | 31 | CCV | 11) { var dataparameter=[['CCV','right','Cooling/Coil Valve Signal (%)','column'],['HCVS','right','Heating/Coil Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 52 | 6 | ,'right','Cooling/Coil Valve Signal (%)','column'],['HCVS','right','Heating/Coil Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | HCVS | 58 | 'HCVS','right','Heating/Coil Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 5 | OAT | #VALUE! | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==12) { var dataparameter=[['ChWST','left','Chilled/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 12 | 25 | 33 | ChWST | 12) { var dataparameter=[['ChWST','left','Chilled/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 53 | 5 | ,'left','Chilled/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | OAT | #VALUE! | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==13) { var dataparameter=[['ChWST','left','Chilled/Water Supply Temp','smoothedLine'],['CCV','right','Cooling/Coil Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 13 | 25 | 33 | ChWST | 13) { var dataparameter=[['ChWST','left','Chilled/Water Supply Temp','smoothedLine'],['CCV','right','Cooling/Coil Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 53 | 5 | ,'left','Chilled/Water Supply Temp','smoothedLine'],['CCV','right','Cooling/Coil Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | CCV | 57 | 'CCV','right','Cooling/Coil Valve Signal (%)','column'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 5 | OAT | #VALUE! | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==14) { var dataparameter=[['ChWRT','left','Chilled/Water Return Temp','smoothedLine'],['ChWST','left','Chilled/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 14 | 25 | 33 | ChWRT | 14) { var dataparameter=[['ChWRT','left','Chilled/Water Return Temp','smoothedLine'],['ChWST','left','Chilled/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 53 | 7 | ,'left','Chilled/Water Return Temp','smoothedLine'],['ChWST','left','Chilled/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | ChWST | 60 | 'ChWST','left','Chilled/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 5 | OAT | #VALUE! | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==15) { var dataparameter=[['ChWRT','left','Chilled/Water Return Temp','smoothedLine'],['CCV','right','Cooling/Coil Valve Signal (%)','column'] ]; } | 15 | 26 | 34 | ChWRT | 15) { var dataparameter=[['ChWRT','left','Chilled/Water Return Temp','smoothedLine'],['CCV','right','Cooling/Coil Valve Signal (%)','column'] ]; } | 53 | 5 | ,'left','Chilled/Water Return Temp','smoothedLine'],['CCV','right','Cooling/Coil Valve Signal (%)','column'] ]; } | CCV | #VALUE! | 'CCV','right','Cooling/Coil Valve Signal (%)','column'] ]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==16) { var dataparameter=[['HWST','left','Hot/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 16 | 25 | 32 | HWST | 16) { var dataparameter=[['HWST','left','Hot/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 49 | 5 | ,'left','Hot/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | OAT | #VALUE! | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==17) { var dataparameter=[['HWRT','left','Hot/Water Return Temp','smoothedLine'],['HWST','left','Hot/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 17 | 25 | 32 | HWRT | 17) { var dataparameter=[['HWRT','left','Hot/Water Return Temp','smoothedLine'],['HWST','left','Hot/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 49 | 6 | ,'left','Hot/Water Return Temp','smoothedLine'],['HWST','left','Hot/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | HWST | 55 | 'HWST','left','Hot/Water Supply Temp','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 5 | OAT | #VALUE! | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==18) { var dataparameter=[['HWLDP','left','Hot/Water Loop Differential Pressure','smoothedLine'],['HCVS','right','Heating/Coil Valve Signal (%)','column']]; } | 18 | 25 | 33 | HWLDP | 18) { var dataparameter=[['HWLDP','left','Hot/Water Loop Differential Pressure','smoothedLine'],['HCVS','right','Heating/Coil Valve Signal (%)','column']]; } | 64 | 6 | ,'left','Hot/Water Loop Differential Pressure','smoothedLine'],['HCVS','right','Heating/Coil Valve Signal (%)','column']]; } | HCVS | #VALUE! | 'HCVS','right','Heating/Coil Valve Signal (%)','column']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==19) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','left','Outdoor/Air Fraction temp','smoothedLine'],['OM','right','Occupancy Mode','column']]; } | 19 | 25 | 31 | OAT | 19) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','left','Outdoor/Air Fraction temp','smoothedLine'],['OM','right','Occupancy Mode','column']]; } | 51 | 7 | ,'left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','left','Outdoor/Air Fraction temp','smoothedLine'],['OM','right','Occupancy Mode','column']]; } | OADPS | 68 | 'OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OAF','left','Outdoor/Air Fraction temp','smoothedLine'],['OM','right','Occupancy Mode','column']]; } | 5 | OAF | 58 | 'OAF','left','Outdoor/Air Fraction temp','smoothedLine'],['OM','right','Occupancy Mode','column']]; } | 4 | OM | 'OM','right','Occupancy Mode','column']]; }
if ($('#dparameters').html().trim()==20) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OM','right','Occupancy Mode','column']]; } | 20 | 25 | 31 | OAT | 20) { var dataparameter=[['OAT','left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OM','right','Occupancy Mode','column']]; } | 51 | 7 | ,'left','Outdoor/Air Temp (temp)','smoothedLine'],['OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OM','right','Occupancy Mode','column']]; } | OADPS | 68 | 'OADPS','right','Outdoor/Air Damper Position Signal (%)','column'],['OM','right','Occupancy Mode','column']]; } | 4 | OM | #VALUE! | 'OM','right','Occupancy Mode','column']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==21) { var dataparameter=[['DSP','left','Duct Static Pressure','smoothedLine'],['DSPSP','left','Duct Static Pressure Set Point','smoothedLine']]; } | 21 | 25 | 31 | DSP | 21) { var dataparameter=[['DSP','left','Duct Static Pressure','smoothedLine'],['DSPSP','left','Duct Static Pressure Set Point','smoothedLine']]; } | 48 | 7 | ,'left','Duct Static Pressure','smoothedLine'],['DSPSP','left','Duct Static Pressure Set Point','smoothedLine']]; } | DSPSP | #VALUE! | 'DSPSP','left','Duct Static Pressure Set Point','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==22) { var dataparameter=[['DSP','left','Duct Static Pressure','smoothedLine']]; } | 22 | 25 | 31 | DSP | 22) { var dataparameter=[['DSP','left','Duct Static Pressure','smoothedLine']]; } | #VALUE! | #VALUE! | ,'left','Duct Static Pressure','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==23) { var dataparameter=[['VAVDPSP','right','VAV Damper Position Set Point (%)','column']]; } | 23 | 25 | 35 | VAVDPSP | 23) { var dataparameter=[['VAVDPSP','right','VAV Damper Position Set Point (%)','column']]; } | #VALUE! | #VALUE! | ,'right','VAV Damper Position Set Point (%)','column']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==24) { var dataparameter=[['DAT','left','Discharge/Air Temp','smoothedLine'],['DATSP','left','Discharge/Air Temp Set Point','smoothedLine']]; } | 24 | 25 | 31 | DAT | 24) { var dataparameter=[['DAT','left','Discharge/Air Temp','smoothedLine'],['DATSP','left','Discharge/Air Temp Set Point','smoothedLine']]; } | 46 | 7 | ,'left','Discharge/Air Temp','smoothedLine'],['DATSP','left','Discharge/Air Temp Set Point','smoothedLine']]; } | DATSP | #VALUE! | 'DATSP','left','Discharge/Air Temp Set Point','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==25) { var dataparameter=[['DAT','left','Discharge/Air Temp','smoothedLine'],['DATSP','left','Discharge/Air Temp Set Point','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 25 | 25 | 31 | DAT | 25) { var dataparameter=[['DAT','left','Discharge/Air Temp','smoothedLine'],['DATSP','left','Discharge/Air Temp Set Point','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 46 | 7 | ,'left','Discharge/Air Temp','smoothedLine'],['DATSP','left','Discharge/Air Temp Set Point','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | DATSP | 63 | 'DATSP','left','Discharge/Air Temp Set Point','smoothedLine'],['OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | 5 | OAT | #VALUE! | 'OAT','left','Outdoor/Air Temp (temp)','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==26) { var dataparameter=[['ZRVS','right','Zone Reheat Valve Signal (%)','column']]; } | 26 | 25 | 32 | ZRVS | 26) { var dataparameter=[['ZRVS','right','Zone Reheat Valve Signal (%)','column']]; } | #VALUE! | #VALUE! | ,'right','Zone Reheat Valve Signal (%)','column']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==27) { var dataparameter=[['DSP','left','Duct Static Pressure','smoothedLine']]; } | 27 | 25 | 31 | DSP | 27) { var dataparameter=[['DSP','left','Duct Static Pressure','smoothedLine']]; } | #VALUE! | #VALUE! | ,'left','Duct Static Pressure','smoothedLine']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
if ($('#dparameters').html().trim()==28) { var dataparameter=[['SFS','right','Supply Fan Status (on/off)','column']]; } | 28 | 25 | 31 | SFS | 28) { var dataparameter=[['SFS','right','Supply Fan Status (on/off)','column']]; } | #VALUE! | #VALUE! | ,'right','Supply Fan Status (on/off)','column']]; } | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## arrayBuilder
$setofdata=array(
1 | ZT | ZRVS | ZOM |  |  | . | ,'ZRVS' | ,'ZOM' |  |  |  | 1=>array('ZT','ZRVS','ZOM') | 6 | 9 |  |  | ,6,1 | ,9,1
2 | ZT | ZRVS | OAT |  |  | . | ,'ZRVS' | ,'OAT' |  |  | , | ,2=>array('ZT','ZRVS','OAT') | 6 | 9 | 5 |  | ,6,2 | ,9,2 | ,5,2
3 | MAT | OADPS | OAF | OAT | RAT | . | ,'OADPS' | ,'OAF' | ,'OAT' | ,'RAT' | , | ,3=>array('MAT','OADPS','OAF','OAT','RAT') | 14 | 15 | 16 | 5 | ,14,3 | ,15,3 | ,16,3 | ,5,3
4 | OAT | OADPS | OAF |  |  | . | ,'OADPS' | ,'OAF' |  |  | , | ,4=>array('OAT','OADPS','OAF') | 5 | 15 | 16 |  | ,5,4 | ,15,4 | ,16,4
5 | OAT | RAT | OADPS |  |  | . | ,'RAT' | ,'OADPS' |  |  | , | ,5=>array('OAT','RAT','OADPS') | 5 | 17 | 15 |  | ,5,5 | ,17,5 | ,15,5
6 | OAT | OADPS |  |  |  | . | ,'OADPS' |  |  |  | , | ,6=>array('OAT','OADPS') | 5 | 15 |  |  | ,5,6 | ,15,6
7 | CCV | DATSP | OADPS | OAT |  | . | ,'DATSP' | ,'OADPS' | ,'OAT' |  | , | ,7=>array('CCV','DATSP','OADPS','OAT') | 33 | 11 | 15 | 5 | ,33,7 | ,11,7 | ,15,7 | ,5,7
8 | CCV | OADPS | OAT |  |  | . | ,'OADPS' | ,'OAT' |  |  | , | ,8=>array('CCV','OADPS','OAT') | 33 | 15 | 5 |  | ,33,8 | ,15,8 | ,5,8
9 | CCV | OADPS |  |  |  | . | ,'OADPS' |  |  |  | , | ,9=>array('CCV','OADPS') | 33 | 15 |  |  | ,33,9 | ,15,9
10 | DAT | MAT | OAT | RAT |  | . | ,'MAT' | ,'OAT' | ,'RAT' |  | , | ,10=>array('DAT','MAT','OAT','RAT') | 10 | 14 | 5 | 17 | ,10,10 | ,14,10 | ,5,10 | ,17,10
11 | CCV | HCVS | OAT |  |  | . | ,'HCVS' | ,'OAT' |  |  | , | ,11=>array('CCV','HCVS','OAT') | 33 | 22 | 5 |  | ,33,11 | ,22,11 | ,5,11
12 | ChWST | OAT |  |  |  | . | ,'OAT' |  |  |  | , | ,12=>array('ChWST','OAT') | 31 | 5 |  |  | ,31,12 | ,5,12
13 | ChWST | CCV | OAT |  |  | . | ,'CCV' | ,'OAT' |  |  | , | ,13=>array('ChWST','CCV','OAT') | 31 | 33 | 5 |  | ,31,13 | ,33,13 | ,5,13
14 | ChWRT | ChWST | OAT |  |  | . | ,'ChWST' | ,'OAT' |  |  | , | ,14=>array('ChWRT','ChWST','OAT') | 30 | 31 | 5 |  | ,30,14 | ,31,14 | ,5,14
15 | ChWRT | CCV |  |  |  | . | ,'CCV' |  |  |  | , | ,15=>array('ChWRT','CCV') | 30 | 33 |  |  | ,30,15 | ,33,15
16 | HWST | OAT |  |  |  | . | ,'OAT' |  |  |  | , | ,16=>array('HWST','OAT') | 26 | 5 |  |  | ,26,16 | ,5,16
17 | HWRT | HWST | OAT |  |  | . | ,'HWST' | ,'OAT' |  |  | , | ,17=>array('HWRT','HWST','OAT') | 25 | 26 | 5 |  | ,25,17 | ,26,17 | ,5,17
18 | HWLDP | HCVS |  |  |  | . | ,'HCVS' |  |  |  | , | ,18=>array('HWLDP','HCVS') | 23 | 22 |  |  | ,23,18 | ,22,18
19 | OAT | OADPS | OAF | OM |  | . | ,'OADPS' | ,'OAF' | ,'OM' |  | , | ,19=>array('OAT','OADPS','OAF','OM') | 5 | 15 | 16 | 4 | ,5,19 | ,15,19 | ,16,19 | ,4,19
20 | OAT | OADPS | OM |  |  | . | ,'OADPS' | ,'OM' |  |  | , | ,20=>array('OAT','OADPS','OM') | 5 | 15 | 4 |  | ,5,20 | ,15,20 | ,4,20
21 | DSP | DSPSP |  |  |  | . | ,'DSPSP' |  |  |  | , | ,21=>array('DSP','DSPSP') | 12 | 13 |  |  | ,12,21 | ,13,21
22 | DSP |  |  |  |  | . |  |  |  |  | , | ,22=>array('DSP') | 12 |  |  |  | ,12,22
23 | VAVDPSP |  |  |  |  | . |  |  |  |  | , | ,23=>array('VAVDPSP') | 20 |  |  |  | ,20,23
24 | DAT | DATSP |  |  |  | . | ,'DATSP' |  |  |  | , | ,24=>array('DAT','DATSP') | 10 | 11 |  |  | ,10,24 | ,11,24
25 | DAT | DATSP | OAT |  |  | . | ,'DATSP' | ,'OAT' |  |  | , | ,25=>array('DAT','DATSP','OAT') | 10 | 11 | 5 |  | ,10,25 | ,11,25 | ,5,25
26 | ZRVS |  |  |  |  | . |  |  |  |  | , | ,26=>array('ZRVS') | 9 |  |  |  | ,9,26
27 | DSP |  |  |  |  | . |  |  |  |  | , | ,27=>array('DSP') | 12 |  |  |  | ,12,27
28 | SFS |  |  |  |  | . |  |  |  |  | , | ,28=>array('SFS') | 19 |  |  |  | ,19,28
);

## Hoja2
1 | datereading | Date | Date | 0 | register |  |  |  |  | 41685 | 41685
2 | timereading | Time | Time | 0 | register |  |  |  |  | 41685 | 41685
3 | dataset_id | data set | data set | 0 | register |  |  |  |  | 41685 | 41685
4 | a01OM | OM | Occupancy Mode | 1 | building info |  | 1 0 | right | column | 41685 | 41685
5 | a02OAT | OAT | Outdoor-Air Temp (temp) | 1 | building info | floatnumber | °F | left | smoothedLine | 41685 | 41685
6 | a03ZT | ZT | Zone Temperature | 1 | building info | floatnumber | °F | left | smoothedLine | 41685 | 41685
7 | a04ZONE | ZONE | Zone | 1 | building info |  | zone name |  |  | 41685 | 41685
8 | a05ConskWH | ConskWH | Consumption kWH | 1 | building info | floatnumber | kW/h | right | smoothedLine | 41685 | 41685
9 | b01ZRVS | ZRVS | Zone Reheat Valve Signal (%) | 1 | Air handle unit | floatnumber | Percent% | right | column | 41685 | 41685
10 | b02DAT | DAT | Discharge-Air Temp | 1 | Air handle unit | floatnumber | °F | left | smoothedLine | 41685 | 41685
11 | b03DATSP | DATSP | Discharge-Air Temp Set Point | 1 | Air handle unit | floatnumber | °F | left | smoothedLine | 41685 | 41685
12 | b04DSP | DSP | Duct Static Pressure | 1 | Air handle unit | floatnumber | wc | right | smoothedLine | 41685 | 41685
13 | b05DSPSP | DSPSP | Duct Static Pressure Set Point | 1 | Air handle unit | floatnumber | wc | right | smoothedLine | 41685 | 41685
14 | b06MAT | MAT | Mixed-Air Temp | 1 | Air handle unit | floatnumber | °F | left | smoothedLine | 41685 | 41685
15 | b07OADPS | OADPS | Outdoor-Air Damper Position Signal (%) | 1 | Air handle unit | floatnumber | Percent% | right | smoothedLine | 41685 | 41685
16 | b08OAF | OAF | Outdoor-Air Fraction (%) | 1 | Air handle unit | floatnumber | Percent% | right | smoothedLine | 41685 | 41685
17 | b09RAT | RAT | Return-Air Temp | 1 | Air handle unit | floatnumber | °F | left | smoothedLine | 41685 | 41685
18 | b10SFSpd | SFSpd | Supply-Fan Speed (rpm) | 1 | Air handle unit | floatnumber | rpm | right | smoothedLine | 41685 | 41685
19 | b11SFS | SFS | Supply Fan Status (on/off) | 1 | Air handle unit |  | 1 0 | right | column | 41685 | 41685
20 | b12VAVDPSP | VAVDPSP | VAV Damper Position Set Point (%) | 1 | Air handle unit | floatnumber | Percent% | left | smoothedLine | 41685 | 41685
21 | b13ZDPS | ZDPS | Zone Damper Position Signal (%) | 1 | Air handle unit | floatnumber | Percent% | left | smoothedLine | 41685 | 41685
22 | c01HCVS | HCVS | Heating-Coil Valve Signal (%) | 1 | Hot water system | floatnumber | Percent% | left | smoothedLine | 41685 | 41685
23 | c02HWLDP | HWLDP | Hot-Water Loop Differential Pressure | 1 | Hot water system | floatnumber | psi | right | smoothedLine | 41685 | 41685
24 | c03HWLDPSP | HWLDPSP | Hot-Water Loop Differential Pressure Set Point | 1 | Hot water system | floatnumber | psi | right | smoothedLine | 41685 | 41685
25 | c04HWRT | HWRT | Hot-Water Return Temp | 1 | Hot water system | floatnumber | °F | left | smoothedLine | 41685 | 41685
26 | c05HWST | HWST | Hot-Water Supply Temp | 1 | Hot water system | floatnumber | °F | left | smoothedLine | 41685 | 41685
27 | c06HWSTSP | HWSTSP | Hot-Water Supply Temp Set Point | 1 | Hot water system | floatnumber | °F | left | smoothedLine | 41685 | 41685
28 | d01ChWLDP | ChWLDP | Chilled-Water Loop Differential Pressure | 1 | Chilled water system | floatnumber | psi | right | smoothedLine | 41685 | 41685
29 | d02ChWLDSP | ChWLDSP | Chilled-Water Loop Differential Pressure Set Point | 1 | Chilled water system | floatnumber | psi | right | smoothedLine | 41685 | 41685
30 | d03ChWRT | ChWRT | Chilled-Water Return Temp | 1 | Chilled water system | floatnumber | °F | left | smoothedLine | 41685 | 41685
31 | d04ChWST | ChWST | Chilled-Water Supply Temp | 1 | Chilled water system | floatnumber | °F | left | smoothedLine | 41685 | 41685
32 | d05ChWSTSP | ChWSTSP | Chilled-Water Supply Temp set point | 1 | Chilled water system | floatnumber | °F | left | smoothedLine | 41685 | 41685
33 | d06CCV | CCV | Cooling-Coil Valve Signal (%) | 1 | Chilled water system | floatnumber | Percent% | right | smoothedLine | 41685 | 41685