## Hoja1
[5 empty] | NAME OF FIELD |  |  |  |  | COMMENT/DESCRIPTION | Data source abbr | Data source whole name (Facility where data had been generated)
`data_id` int(15) NOT NULL AUTO_INCREMENT | 3 | 43 | data_id` int(15) NOT NULL AUTO_INCREMENT | 8 | data_id | 40 | int(15) NOT NULL AUTO_INCREMENT
`user_id` int(7) NOT NULL | 3 | 27 | user_id` int(7) NOT NULL | 8 | user_id | 24 | int(7) NOT NULL
`entered_at` timestamp NOT NULL DEFAULT CURRENT_TIMESTAMP COMMENT 'timestamp record created' | 3 | 94 | entered_at` timestamp NOT NULL DEFAULT CURRENT_TIMESTAMP COMMENT 'timestamp record created' | 11 | entered_at | 91 | timestamp NOT NULL DEFAULT CURRENT_TIMESTAMP COMMENT 'timestamp record created' | 55 | 80 | timestamp record created'
`changed_at` timestamp NOT NULL DEFAULT '0000-00-00 00:00:00' COMMENT 'timestamp of last row change' | 3 | 102 | changed_at` timestamp NOT NULL DEFAULT '0000-00-00 00:00:00' COMMENT 'timestamp of last row change' | 11 | changed_at | 99 | timestamp NOT NULL DEFAULT '0000-00-00 00:00:00' COMMENT 'timestamp of last row change' | 29 | 88 | 0000-00-00 00:00:00' COMMENT 'timestamp of last row change'
`DATE_READING` date NOT NULL COMMENT 'Date on which the readings in the current row were collected' | 3 | 101 | DATE_READING` date NOT NULL COMMENT 'Date on which the readings in the current row were collected' | 13 | DATE_READING | 98 | date NOT NULL COMMENT 'Date on which the readings in the current row were collected' | 24 | 85 | Date on which the readings in the current row were collected' | ALL
`TIME_READING` time NOT NULL COMMENT 'Time at which the readings in the current row were collected' | 3 | 101 | TIME_READING` time NOT NULL COMMENT 'Time at which the readings in the current row were collected' | 13 | TIME_READING | 98 | time NOT NULL COMMENT 'Time at which the readings in the current row were collected' | 24 | 85 | Time at which the readings in the current row were collected' | ALL
`ChWLDP` float DEFAULT NULL COMMENT 'Chilled-Water Loop Differential Pressure (ChWLDP) as Float' | 3 | 98 | ChWLDP` float DEFAULT NULL COMMENT 'Chilled-Water Loop Differential Pressure (ChWLDP) as Float' | 7 | ChWLDP | 95 | float DEFAULT NULL COMMENT 'Chilled-Water Loop Differential Pressure (ChWLDP) as Float' | 29 | 88 | Chilled-Water Loop Differential Pressure (ChWLDP) as Float'
`ChWLDSP` float DEFAULT NULL COMMENT 'Chilled-Water Loop Differential Pressure Set Point (ChWLDPSP) as FLOAT' | 3 | 112 | ChWLDSP` float DEFAULT NULL COMMENT 'Chilled-Water Loop Differential Pressure Set Point (ChWLDPSP) as FLOAT' | 8 | ChWLDSP | 109 | float DEFAULT NULL COMMENT 'Chilled-Water Loop Differential Pressure Set Point (ChWLDPSP) as FLOAT' | 29 | 101 | Chilled-Water Loop Differential Pressure Set Point (ChWLDPSP) as FLOAT'
`ChWRT` float DEFAULT NULL COMMENT 'Chilled-Water Return Temp (ChWRT) as Temp (F)' | 3 | 84 | ChWRT` float DEFAULT NULL COMMENT 'Chilled-Water Return Temp (ChWRT) as Temp (F)' | 6 | ChWRT | 81 | float DEFAULT NULL COMMENT 'Chilled-Water Return Temp (ChWRT) as Temp (F)' | 29 | 75 | Chilled-Water Return Temp (ChWRT) as Temp (F)'
`ChWST` float DEFAULT NULL COMMENT 'Chilled-Water Supply Temp (ChWST) as Temp (F)' | 3 | 84 | ChWST` float DEFAULT NULL COMMENT 'Chilled-Water Supply Temp (ChWST) as Temp (F)' | 6 | ChWST | 81 | float DEFAULT NULL COMMENT 'Chilled-Water Supply Temp (ChWST) as Temp (F)' | 29 | 75 | Chilled-Water Supply Temp (ChWST) as Temp (F)'
`ChWSTSP` float DEFAULT NULL COMMENT 'Chilled-Water Supply Temp Set Point (ChWSTSP) as Temp (F)' | 3 | 98 | ChWSTSP` float DEFAULT NULL COMMENT 'Chilled-Water Supply Temp Set Point (ChWSTSP) as Temp (F)' | 8 | ChWSTSP | 95 | float DEFAULT NULL COMMENT 'Chilled-Water Supply Temp Set Point (ChWSTSP) as Temp (F)' | 29 | 87 | Chilled-Water Supply Temp Set Point (ChWSTSP) as Temp (F)'
`CCV` float DEFAULT NULL COMMENT 'Cooling-Coil Valve Signal (CCV) as %' | 3 | 73 | CCV` float DEFAULT NULL COMMENT 'Cooling-Coil Valve Signal (CCV) as %' | 4 | CCV | 70 | float DEFAULT NULL COMMENT 'Cooling-Coil Valve Signal (CCV) as %' | 29 | 66 | Cooling-Coil Valve Signal (CCV) as %'
`ConskWH` float DEFAULT NULL COMMENT 'Consumption (ConskWH) as FLOAT' | 3 | 72 | ConskWH` float DEFAULT NULL COMMENT 'Consumption (ConskWH) as FLOAT' | 8 | ConskWH | 69 | float DEFAULT NULL COMMENT 'Consumption (ConskWH) as FLOAT' | 29 | 61 | Consumption (ConskWH) as FLOAT'
`DAT` float DEFAULT NULL COMMENT 'Discharge-Air Temp (DAT) as Temp (F)' | 3 | 73 | DAT` float DEFAULT NULL COMMENT 'Discharge-Air Temp (DAT) as Temp (F)' | 4 | DAT | 70 | float DEFAULT NULL COMMENT 'Discharge-Air Temp (DAT) as Temp (F)' | 29 | 66 | Discharge-Air Temp (DAT) as Temp (F)'
`DATSP` float DEFAULT NULL COMMENT 'Discharge-Air Temp Set Point (DATSP) as Temp (F)' | 3 | 87 | DATSP` float DEFAULT NULL COMMENT 'Discharge-Air Temp Set Point (DATSP) as Temp (F)' | 6 | DATSP | 84 | float DEFAULT NULL COMMENT 'Discharge-Air Temp Set Point (DATSP) as Temp (F)' | 29 | 78 | Discharge-Air Temp Set Point (DATSP) as Temp (F)'
`DSP` float DEFAULT NULL COMMENT 'Duct Static Pressure (DSP) as FLOAT' | 3 | 73 | DSP` float DEFAULT NULL COMMENT 'Duct Static Pressure (DSP) as FLOAT' | 4 | DSP | 70 | float DEFAULT NULL COMMENT 'Duct Static Pressure (DSP) as FLOAT' | 29 | 66 | Duct Static Pressure (DSP) as FLOAT'
`DSPSP` float DEFAULT NULL COMMENT 'Duct Static Pressure Set Point (DSPSP) as FLOAT' | 3 | 87 | DSPSP` float DEFAULT NULL COMMENT 'Duct Static Pressure Set Point (DSPSP) as FLOAT' | 6 | DSPSP | 84 | float DEFAULT NULL COMMENT 'Duct Static Pressure Set Point (DSPSP) as FLOAT' | 29 | 78 | Duct Static Pressure Set Point (DSPSP) as FLOAT'
`HCVS` float DEFAULT NULL COMMENT 'Heating-Coil Valve Signal (HCVS) as %' | 3 | 75 | HCVS` float DEFAULT NULL COMMENT 'Heating-Coil Valve Signal (HCVS) as %' | 5 | HCVS | 72 | float DEFAULT NULL COMMENT 'Heating-Coil Valve Signal (HCVS) as %' | 29 | 67 | Heating-Coil Valve Signal (HCVS) as %'
`HWLDP` float DEFAULT NULL COMMENT 'Hot-Water Loop Differential Pressure (HWLDP) as FLOAT' | 3 | 93 | HWLDP` float DEFAULT NULL COMMENT 'Hot-Water Loop Differential Pressure (HWLDP) as FLOAT' | 6 | HWLDP | 90 | float DEFAULT NULL COMMENT 'Hot-Water Loop Differential Pressure (HWLDP) as FLOAT' | 29 | 84 | Hot-Water Loop Differential Pressure (HWLDP) as FLOAT'
`HWLDPSP` float DEFAULT NULL COMMENT 'Hot-Water Loop Differential Pressure Set Point (HWLDPSP) as FLOAT' | 3 | 107 | HWLDPSP` float DEFAULT NULL COMMENT 'Hot-Water Loop Differential Pressure Set Point (HWLDPSP) as FLOAT' | 8 | HWLDPSP | 104 | float DEFAULT NULL COMMENT 'Hot-Water Loop Differential Pressure Set Point (HWLDPSP) as FLOAT' | 29 | 96 | Hot-Water Loop Differential Pressure Set Point (HWLDPSP) as FLOAT'
`HWRT` float DEFAULT NULL COMMENT 'Hot-Water Return Temp (HWRT) as Temp (F)' | 3 | 78 | HWRT` float DEFAULT NULL COMMENT 'Hot-Water Return Temp (HWRT) as Temp (F)' | 5 | HWRT | 75 | float DEFAULT NULL COMMENT 'Hot-Water Return Temp (HWRT) as Temp (F)' | 29 | 70 | Hot-Water Return Temp (HWRT) as Temp (F)'
`HWST` float DEFAULT NULL COMMENT 'Hot-Water Supply Temp (HWST) as Temp (F)' | 3 | 78 | HWST` float DEFAULT NULL COMMENT 'Hot-Water Supply Temp (HWST) as Temp (F)' | 5 | HWST | 75 | float DEFAULT NULL COMMENT 'Hot-Water Supply Temp (HWST) as Temp (F)' | 29 | 70 | Hot-Water Supply Temp (HWST) as Temp (F)'
`HWSTSP` float DEFAULT NULL COMMENT 'Hot-Water Supply Temp Set Point (HWSTSP) as Temp (F)' | 3 | 92 | HWSTSP` float DEFAULT NULL COMMENT 'Hot-Water Supply Temp Set Point (HWSTSP) as Temp (F)' | 7 | HWSTSP | 89 | float DEFAULT NULL COMMENT 'Hot-Water Supply Temp Set Point (HWSTSP) as Temp (F)' | 29 | 82 | Hot-Water Supply Temp Set Point (HWSTSP) as Temp (F)'
`MAT` float DEFAULT NULL COMMENT 'Mixed-Air Temp (MAT) as Temp (F)' | 3 | 69 | MAT` float DEFAULT NULL COMMENT 'Mixed-Air Temp (MAT) as Temp (F)' | 4 | MAT | 66 | float DEFAULT NULL COMMENT 'Mixed-Air Temp (MAT) as Temp (F)' | 29 | 62 | Mixed-Air Temp (MAT) as Temp (F)'
`OM` tinyint(1) DEFAULT NULL COMMENT 'Occupancy Mode (OM) as boolean (Occupied/Unoccupied)' | 3 | 93 | OM` tinyint(1) DEFAULT NULL COMMENT 'Occupancy Mode (OM) as boolean (Occupied/Unoccupied)' | 3 | OM | 90 | tinyint(1) DEFAULT NULL COMMENT 'Occupancy Mode (OM) as boolean (Occupied/Unoccupied)' | 34 | 87 | Occupancy Mode (OM) as boolean (Occupied/Unoccupied)'
`OADPS` float DEFAULT NULL COMMENT 'Outdoor-Air Damper Position Signal (OADPS) as %' | 3 | 86 | OADPS` float DEFAULT NULL COMMENT 'Outdoor-Air Damper Position Signal (OADPS) as %' | 6 | OADPS | 83 | float DEFAULT NULL COMMENT 'Outdoor-Air Damper Position Signal (OADPS) as %' | 29 | 77 | Outdoor-Air Damper Position Signal (OADPS) as %'
`OAF` float DEFAULT NULL COMMENT 'Outdoor-Air Fraction (OAF) as Temp (F)' | 3 | 75 | OAF` float DEFAULT NULL COMMENT 'Outdoor-Air Fraction (OAF) as Temp (F)' | 4 | OAF | 72 | float DEFAULT NULL COMMENT 'Outdoor-Air Fraction (OAF) as Temp (F)' | 29 | 68 | Outdoor-Air Fraction (OAF) as Temp (F)'
`OAT` float DEFAULT NULL COMMENT 'Outdoor-Air Temp (OAT) as Temp (F)' | 3 | 71 | OAT` float DEFAULT NULL COMMENT 'Outdoor-Air Temp (OAT) as Temp (F)' | 4 | OAT | 68 | float DEFAULT NULL COMMENT 'Outdoor-Air Temp (OAT) as Temp (F)' | 29 | 64 | Outdoor-Air Temp (OAT) as Temp (F)'
`RAT` float DEFAULT NULL COMMENT 'Return-Air Temp (RAT) as Temp (F)' | 3 | 70 | RAT` float DEFAULT NULL COMMENT 'Return-Air Temp (RAT) as Temp (F)' | 4 | RAT | 67 | float DEFAULT NULL COMMENT 'Return-Air Temp (RAT) as Temp (F)' | 29 | 63 | Return-Air Temp (RAT) as Temp (F)'
`SFSpd` float DEFAULT NULL COMMENT 'Supply-Fan Speed (SFSpd) as FLOAT' | 3 | 73 | SFSpd` float DEFAULT NULL COMMENT 'Supply-Fan Speed (SFSpd) as FLOAT' | 6 | SFSpd | 70 | float DEFAULT NULL COMMENT 'Supply-Fan Speed (SFSpd) as FLOAT' | 29 | 64 | Supply-Fan Speed (SFSpd) as FLOAT'
`SFS` tinyint(1) DEFAULT NULL COMMENT 'Supply Fan Status (SFS) as boolean (On/Off)' | 3 | 85 | SFS` tinyint(1) DEFAULT NULL COMMENT 'Supply Fan Status (SFS) as boolean (On/Off)' | 4 | SFS | 82 | tinyint(1) DEFAULT NULL COMMENT 'Supply Fan Status (SFS) as boolean (On/Off)' | 34 | 78 | Supply Fan Status (SFS) as boolean (On/Off)'
`VAVDPSP` float DEFAULT NULL COMMENT 'VAV Damper Position Set Point (VAVDPSP) as %' | 3 | 85 | VAVDPSP` float DEFAULT NULL COMMENT 'VAV Damper Position Set Point (VAVDPSP) as %' | 8 | VAVDPSP | 82 | float DEFAULT NULL COMMENT 'VAV Damper Position Set Point (VAVDPSP) as %' | 29 | 74 | VAV Damper Position Set Point (VAVDPSP) as %'
`ZDPS` float DEFAULT NULL COMMENT 'Zone Damper Position Signal (ZDPS) as %' | 3 | 77 | ZDPS` float DEFAULT NULL COMMENT 'Zone Damper Position Signal (ZDPS) as %' | 5 | ZDPS | 74 | float DEFAULT NULL COMMENT 'Zone Damper Position Signal (ZDPS) as %' | 29 | 69 | Zone Damper Position Signal (ZDPS) as %'
`ZOM` tinyint(1) DEFAULT NULL COMMENT 'Zone Occupancy Mode (ZOM) as boolean (Occupied/Unoccupied)' | 3 | 100 | ZOM` tinyint(1) DEFAULT NULL COMMENT 'Zone Occupancy Mode (ZOM) as boolean (Occupied/Unoccupied)' | 4 | ZOM | 97 | tinyint(1) DEFAULT NULL COMMENT 'Zone Occupancy Mode (ZOM) as boolean (Occupied/Unoccupied)' | 34 | 93 | Zone Occupancy Mode (ZOM) as boolean (Occupied/Unoccupied)'
`ZRVS` float DEFAULT NULL COMMENT 'Zone Reheat Valve Signal (ZRVS) as %' | 3 | 74 | ZRVS` float DEFAULT NULL COMMENT 'Zone Reheat Valve Signal (ZRVS) as %' | 5 | ZRVS | 71 | float DEFAULT NULL COMMENT 'Zone Reheat Valve Signal (ZRVS) as %' | 29 | 66 | Zone Reheat Valve Signal (ZRVS) as %'
`ZT` float DEFAULT NULL COMMENT 'Zone Temperature (ZT) as Temp (F)' | 3 | 69 | ZT` float DEFAULT NULL COMMENT 'Zone Temperature (ZT) as Temp (F)' | 3 | ZT | 66 | float DEFAULT NULL COMMENT 'Zone Temperature (ZT) as Temp (F)' | 29 | 63 | Zone Temperature (ZT) as Temp (F)'
`ZONE` text COMMENT 'Zone (name) as Text' | 3 | 43 | ZONE` text COMMENT 'Zone (name) as Text' | 5 | ZONE | 40 | text COMMENT 'Zone (name) as Text' | 15 | 35 | Zone (name) as Text'
`DAMPER` text COMMENT 'Damper (name) as Text' | 3 | 47 | DAMPER` text COMMENT 'Damper (name) as Text' | 7 | DAMPER | 44 | text COMMENT 'Damper (name) as Text' | 15 | 37 | Damper (name) as Text'