## setchartsTable
id | mscol | axislocation | descriptcol | charttype | leftaxisdesc | rightaxisdesc | created_at | updated_at
1 | ChWLDP | left | Chilled-Water Loop Differential Pressure | smoothedLine
2 | ChWLDSP | left | Chilled-Water Loop Differential Pressure Set Point | smoothedLine
3 | ChWRT | left | Chilled-Water Return Temp | smoothedLine
4 | ChWST | left | Chilled-Water Supply Temp | smoothedLine
5 | ChWSTSP | left | Chilled-Water Supply Temp | smoothedLine
6 | CCV | right | Cooling-Coil Valve Signal (%) | column
7 | ConskWH | left | Consumption kWH | smoothedLine
8 | DAT | left | Discharge-Air Temp | smoothedLine
9 | DATSP | left | Discharge-Air Temp Set Point | smoothedLine
10 | DSP | left | Duct Static Pressure | smoothedLine
11 | DSPSP | left | Duct Static Pressure Set Point | smoothedLine
12 | HCVS | right | Heating-Coil Valve Signal (%) | column
13 | HWLDP | left | Hot-Water Loop Differential Pressure | smoothedLine
14 | HWLDPSP | left | Hot-Water Loop Differential Pressure Set Point | smoothedLine
15 | HWRT | left | Hot-Water Return Temp | smoothedLine
16 | HWST | left | Hot-Water Supply Temp | smoothedLine
17 | HWSTSP | left | Hot-Water Supply Temp Set Point | smoothedLine
18 | MAT | left | Mixed-Air Temp | smoothedLine
19 | OM | right | Occupancy Mode | column
20 | OADPS | right | Outdoor-Air Damper Position Signal (%) | column
21 | OAF | right | Outdoor-Air Fraction temp | column
22 | OAT | left | Outdoor-Air Temp (temp) | smoothedLine
23 | RAT | left | Return-Air Temp | smoothedLine
24 | SFSpd | left | Supply-Fan Speed | smoothedLine
25 | SFS | right | Supply Fan Status (on/off) | column
26 | VAVDPSP | right | VAV Damper Position Set Point (%) | column
27 | ZDPS | left | Zone Damper Position Signal (%) | smoothedLine
28 | ZOM | right | Zone Occupancy Mode (Occupied/Unoccupied) | column
29 | ZRVS | right | Zone Reheat Valve Signal (%) | column
30 | ZT | left | Zone Temperature | smoothedLine
31 | ZONE | left | Zone | smoothedLine
32 | DAMPER | left | Damper | smoothedLine