## DB schema
Table: users
Table: datasets
Table: externalinputs
Table: ahus
(air handle units data)
Relation: has many
(one user can have many datasets)
Relation: has many
(one datase has many external inputs data)
Relation: one to one
Each external input row is associated
with one ahu row. If time intervals are different:
empty row is associated with filled row.
Table: colds
(chilled water data)
Table: hots
(boiled water data)
Relation: one to one
Relation: one to one

## Operational tables
Column name | System | Description | Comments | C1 | C2 | c3
OM | a. external inputs | Occupancy Mode | 1 / 0 | a | 1 | a01OM
OAT | a. external inputs | Outdoor-Air Temp (temp) | Outside temperature | a | 2 | a02OAT
ZT | a. external inputs | Zone Temperature | Inside temperature | a | 3 | a03ZT
ZONE | a. external inputs | Zone | USELESS: a building contains many zones | a | 4 | a04ZONE
ConskWH | a. external inputs | Consumption kWH | kWH | a | 5 | a05ConskWH
ZRVS | b. air handle unit | Zone Reheat Valve Signal (%) | Trigger value | b | 1 | b01ZRVS
DAT | b. air handle unit | Discharge-Air Temp |  | b | 2 | b02DAT
DATSP | b. air handle unit | Discharge-Air Temp Set Point | Trigger value | b | 3 | b03DATSP
DSP | b. air handle unit | Duct Static Pressure | High when occupied, zero if empty | b | 4 | b04DSP
DSPSP | b. air handle unit | Duct Static Pressure Set Point |  | b | 5 | b05DSPSP
MAT | b. air handle unit | Mixed-Air Temp |  | b | 6 | b06MAT
OADPS | b. air handle unit | Outdoor-Air Damper Position Signal (%) | Closed when unnocuppied | b | 7 | b07OADPS
OAF | b. air handle unit | Outdoor-Air Fraction (%) | Ratio: proportion of outer temperature used in return temperature | b | 8 | b08OAF
RAT | b. air handle unit | Return-Air Temp | Air to be exhausted or reused. Air is reused if outdoor temp is high | b | 9 | b09RAT
SFSpd | b. air handle unit | Supply-Fan Speed (rpm) | High when occupied, zero if unoccupied | b | 10 | b10SFSpd
SFS | b. air handle unit | Supply Fan Status (on/off) | On - occupied / off - empty | b | 11 | b11SFS
VAVDPSP | b. air handle unit | VAV Damper Position Set Point (%) | Variable Air Volume. Trigger | b | 12 | b12VAVDPSP
ZDPS | b. air handle unit | Zone Damper Position Signal (%) | Damper closed while heating or unnocuppied. Dampers open wider when outdoor temperature is higher | b | 13 | b13ZDPS
HCVS | c. water heater | Heating-Coil Valve Signal (%) | Hot water valve position | c | 1 | c01HCVS
HWLDP | c. water heater | Hot-Water Loop Differential Pressure | Not so important. Can lead to confusion | c | 2 | c02HWLDP
HWLDPSP | c. water heater | Hot-Water Loop Differential Pressure Set Point | Not so important. Can lead to confusion | c | 3 | c03HWLDPSP
HWRT | c. water heater | Hot-Water Return Temp | Delivered (hot) temp | c | 4 | c04HWRT
HWST | c. water heater | Hot-Water Supply Temp |  | c | 5 | c05HWST
HWSTSP | c. water heater | Hot-Water Supply Temp Set Point | Trigger value | c | 6 | c06HWSTSP
ChWLDP | d. chiller | Chilled-Water Loop Differential Pressure | Not so important. Can lead to confusion | d | 1 | d01ChWLDP
ChWLDSP | d. chiller | Chilled-Water Loop Differential Pressure Set Point | Not so important. Can lead to confusion | d | 2 | d02ChWLDSP
ChWRT | d. chiller | Chilled-Water Return Temp | Delivered (cold) temp | d | 3 | d03ChWRT
ChWST | d. chiller | Chilled-Water Supply Temp |  | d | 4 | d04ChWST
ChWSTSP | d. chiller | Chilled-Water Supply Temp set point | Trigger value | d | 5 | d05ChWSTSP
CCV | d. chiller | Cooling-Coil Valve Signal (%) | Cold water valve position | d | 6 | d06CCV
Table | Dampers
id | integer
name | string
buildingregister_id | foraing key

## definitive table
column name | Description | Comments | Unit msm | Data type | length | decimals | Schema
id |  |  |  | increments |  |  | $table->increments('id');
datereading | date of reading | Be careful with format | date | date |  |  | $table->date('datereading');
timereading | time of reading | Be careful with format | time | time |  |  | $table->time('timereading');
dataset_id | foraing key | All registers belong to one dataset | integer | integer |  |  | $table->integer('dataset_id');
a01OM | Occupancy Mode | 1 / 0 | 1/0 | tinyinteger |  |  | $table->tinyinteger('a01OM');
a02OAT | Outdoor-Air Temp (temp) | Outside temperature | F | decimal | 4 | 1 | $table->decimal('a02OAT',4,1);
a03ZT | Zone Temperature | Inside temperature | F | decimal | 4 | 1 | $table->decimal('a03ZT',4,1);
a04ZONE | Zone | USELESS: a building contains many zones | string | string |  |  | $table->string('a04ZONE');
a05ConskWH | Consumption kWH | kWH | kW/h | decimal | 3 | 0 | $table->decimal('a05ConskWH',3,0);
b01ZRVS | Zone Reheat Valve Signal (%) | Trigger value | % | decimal | 3 | 0 | $table->decimal('b01ZRVS',3,0);
b02DAT | Discharge-Air Temp | 0 | F | decimal | 4 | 1 | $table->decimal('b02DAT',4,1);
b03DATSP | Discharge-Air Temp Set Point | Trigger value | F | decimal | 4 | 1 | $table->decimal('b03DATSP',4,1);
b04DSP | Duct Static Pressure | High when occupied, zero if empty | wc | decimal | 3 | 1 | $table->decimal('b04DSP',3,1);
b05DSPSP | Duct Static Pressure Set Point | 0 | wc | decimal | 3 | 1 | $table->decimal('b05DSPSP',3,1);
b06MAT | Mixed-Air Temp | 0 | F | decimal | 4 | 1 | $table->decimal('b06MAT',4,1);
b07OADPS | Outdoor-Air Damper Position Signal (%) | Closed when unnocuppied | % | decimal | 3 | 0 | $table->decimal('b07OADPS',3,0);
b08OAF | Outdoor-Air Fraction (%) | Ratio: proportion of outer temperature used in return temperature | % | decimal | 3 | 0 | $table->decimal('b08OAF',3,0);
b09RAT | Return-Air Temp | Air to be exhausted or reused. Air is reused if outdoor temp is high | F | decimal | 4 | 1 | $table->decimal('b09RAT',4,1);
b10SFSpd | Supply-Fan Speed (rpm) | High when occupied, zero if unoccupied | rpm | decimal | 4 | 0 | $table->decimal('b10SFSpd',4,0);
b11SFS | Supply Fan Status (on/off) | On - occupied / off - empty | 0/1 | tinyinteger |  |  | $table->tinyinteger('b11SFS');
b12VAVDPSP | VAV Damper Position Set Point (%) | Variable Air Volume. Trigger | % | decimal | 3 | 0 | $table->decimal('b12VAVDPSP',3,0);
b13ZDPS | Zone Damper Position Signal (%) | Damper closed while heating or unnocuppied. Dampers open wider when outdoor temperature is higher | % | decimal | 3 | 0 | $table->decimal('b13ZDPS',3,0);
c01HCVS | Heating-Coil Valve Signal (%) | Hot water valve position | % | decimal | 3 | 0 | $table->decimal('c01HCVS',3,0);
c02HWLDP | Hot-Water Loop Differential Pressure | Not so important. Can lead to confusion | psi | decimal | 3 | 1 | $table->decimal('c02HWLDP',3,1);
c03HWLDPSP | Hot-Water Loop Differential Pressure Set Point | Not so important. Can lead to confusion | psi | decimal | 3 | 1 | $table->decimal('c03HWLDPSP',3,1);
c04HWRT | Hot-Water Return Temp | Delivered (hot) temp | F | decimal | 4 | 1 | $table->decimal('c04HWRT',4,1);
c05HWST | Hot-Water Supply Temp | 0 | F | decimal | 4 | 1 | $table->decimal('c05HWST',4,1);
c06HWSTSP | Hot-Water Supply Temp Set Point | Trigger value | F | decimal | 4 | 1 | $table->decimal('c06HWSTSP',4,1);
d01ChWLDP | Chilled-Water Loop Differential Pressure | Not so important. Can lead to confusion | psi | decimal | 3 | 1 | $table->decimal('d01ChWLDP',3,1);
d02ChWLDSP | Chilled-Water Loop Differential Pressure Set Point | Not so important. Can lead to confusion | psi | decimal | 3 | 1 | $table->decimal('d02ChWLDSP',3,1);
d03ChWRT | Chilled-Water Return Temp | Delivered (cold) temp | F | decimal | 4 | 1 | $table->decimal('d03ChWRT',4,1);
d04ChWST | Chilled-Water Supply Temp | 0 | F | decimal | 4 | 1 | $table->decimal('d04ChWST',4,1);
d05ChWSTSP | Chilled-Water Supply Temp set point | Trigger value | F | decimal | 4 | 1 | $table->decimal('d05ChWSTSP',4,1);
d06CCV | Cooling-Coil Valve Signal (%) | Cold water valve position | % | decimal | 3 | 0 | $table->decimal('d06CCV',3,0);
|  |  |  | timestamps |  |  | $table->timestamps();

## Schema
public function up()
{
Schema::create('buildingregisters', function(Blueprint $table) {
| $table->increments('id'); | $table->increments('id'); | TRUE
| $table->date('datereading'); | $table->date('datereading'); | TRUE
| $table->time('timereading'); | $table->time('timereading'); | TRUE
| $table->integer('dataset_id'); | $table->integer('dataset_id'); | TRUE
| $table->tinyinteger('a01OM'); | $table->tinyinteger('a01OM'); | TRUE
| $table->float('a02OAT'); | $table->decimal('a02OAT',4,1); | FALSE
| $table->float('a03ZT'); | $table->decimal('a03ZT',4,1); | FALSE
| $table->string('a04ZONE'); | $table->string('a04ZONE'); | TRUE
| $table->float('a05ConskWH'); | $table->decimal('a05ConskWH',3,0); | FALSE
| $table->float('b01ZRVS'); | $table->decimal('b01ZRVS',3,0); | FALSE
| $table->float('b02DAT'); | $table->decimal('b02DAT',4,1); | FALSE
| $table->float('b03DATSP'); | $table->decimal('b03DATSP',4,1); | FALSE
| $table->float('b04DSP'); | $table->decimal('b04DSP',3,1); | FALSE
| $table->float('b05DSPSP'); | $table->decimal('b05DSPSP',3,1); | FALSE
| $table->float('b06MAT'); | $table->decimal('b06MAT',4,1); | FALSE
| $table->float('b07OADPS'); | $table->decimal('b07OADPS',3,0); | FALSE
| $table->float('b08OAF'); | $table->decimal('b08OAF',3,0); | FALSE
| $table->float('b09RAT'); | $table->decimal('b09RAT',4,1); | FALSE
| $table->integer('b10SFSpd'); | $table->decimal('b10SFSpd',4,0); | FALSE
| $table->tinyinteger('b11SFS'); | $table->tinyinteger('b11SFS'); | TRUE
| $table->float('b12VAVDPSP'); | $table->decimal('b12VAVDPSP',3,0); | FALSE
| $table->float('b13ZDPS'); | $table->decimal('b13ZDPS',3,0); | FALSE
| $table->float('c01HCVS'); | $table->decimal('c01HCVS',3,0); | FALSE
| $table->float('c02HWLDP'); | $table->decimal('c02HWLDP',3,1); | FALSE
| $table->float('c03HWLDPSP'); | $table->decimal('c03HWLDPSP',3,1); | FALSE
| $table->float('c04HWRT'); | $table->decimal('c04HWRT',4,1); | FALSE
| $table->float('c05HWST'); | $table->decimal('c05HWST',4,1); | FALSE
| $table->float('c06HWSTSP'); | $table->decimal('c06HWSTSP',4,1); | FALSE
| $table->float('d01ChWLDP'); | $table->decimal('d01ChWLDP',3,1); | FALSE
| $table->float('d02ChWLDSP'); | $table->decimal('d02ChWLDSP',3,1); | FALSE
| $table->float('d03ChWRT'); | $table->decimal('d03ChWRT',4,1); | FALSE
| $table->float('d04ChWST'); | $table->decimal('d04ChWST',4,1); | FALSE
| $table->float('d05ChWSTSP'); | $table->decimal('d05ChWSTSP',4,1); | FALSE
| $table->float('d06CCV'); | $table->decimal('d06CCV',3,0); | FALSE
| $table->timestamps(); | 0 | FALSE
}); |  | $table->timestamps(); | FALSE
} |  | 0 | TRUE | TRUE

## Non operational tables
table | Field | Description | Comment
users | id | unique user id | Provided by client as: DB access, XML access (preferred) or JSON access
users | email | user email | Provided by client as: DB access, XML access (preferred) or JSON access
users | name | user name | Provided by client as: DB access, XML access (preferred) or JSON access
users | surname | user surname | Provided by client as: DB access, XML access (preferred) or JSON access
datasets | id | unique id | Dataset is parent of operational tables. All operational table registers belongs to a dataset register
datasets | name | dataset name
datasets | user_id | foreing key | Each user can create or update a dataset